## Sheet1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1
2
3
4
5
6
7
METHOD: EDDY CURRENT

## C2-A
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | TEST PIECE (NF) | 45N0035 | 2.164.551 | MS1300 | DR-FORSTER | C2-A-1 | 1 | NO | GEN. | 1997-11-06
2 | TEST PIECE (FE) | 45N0039 | 29A028 | MS1400 | DR-FORSTER | C2-A-2 | 1 | NO | GEN. | 1997-11-06
3 | TEST PIECE (FE) | 45N0033 | 2.164.501 | MS102 | DR-FORSTER | C2-A-3 | 1 | NO | GEN. | 1997-11-06
4 | TEST PIECE (FE) | 45N0036 | 2.164.501 | MS100 | DR-FORSTER | C2-A-4 | 1 | NO | GEN. | 1997-11-06
5 | TEST PIECE (FE) | 45N0040 | 2.164.501 | MS101 | DR-FORSTER | C2-A-5 | 1 | NO | GEN. | 1997-11-06
6 | TEST PIECE (NF) | N-A | 188A | 6992787 | NDT. ENG. | C2-A-6 | 1 | NO | GEN. | 1997-11-06
7 | TEST PIECE (NF) | N-A | NDT 1048 | 6992788 | NDT.ENG. | C2-A-7 | 1 | NO | GEN. | 1997-11-06
8 | TEST PIECE (FE) | 45N0059 | 2.835.01-9330 | 2716 | NDT.ENG. | C2-A-8 | 1 | NO | GEN. | 2006-11-12
9 | TEST PIECE (NF) | 45N0060 45N0032 45N0058 | 2.164-551 | 2625 1326 2629 | NDT.ENG. | C2-A-9 | 3 | NO | GEN. | 12/11/2006 07/12/2000 10/05/2000
10 | TEST PIECE (FE) | 45N0057 | 2.835.01.9330 | 2717 | NDT.ENG. | C2-A-10 | 1 | NO | GEN. | 2006-11-12
11 | TEST PIECE (NF) | 45L0391 | 29A029 | N-A | NDT.ENG. | C2-A-11 | 1 | NO | GEN. | 2006-01-15
12 | TEST PIECE (TI) | 45L0389 | 29A032 | 004 | NDT.ENG. | C2-A-12 | 1 | NO | GEN. | 2006-01-15
13 | TEST PIECE | N-A | DRT95819 | 330/351ET22 | MESSIER DOWTY | C2-A-13 | 1 | NO | A330 | LOAN
14 | TEST PIECE | N-A | 335 | 12112102 | TECHNA NDT | C2-A-14 | 1 | NO | B737 / 53-10-31 | 2012-12-03
15 | TEST PIECE | 45N0037 45N0038 | 2.164.501 | 1339 1341 | DR-FORSTER | C2-A-15 | 2 | NO | GEN. | 07/12/2000 10/05/2000
METHOD: EDDY CURRENT
LIST OF: H.FREQ. TEST PIECES
SECTION: C2-A

## C2-A-16
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | FIXED LEADING EDGE ROLLER PIN HOLES IN TRACK RIB 1 TO TRACK RIB 11
2 | PROBE H.F | N-A | NEC-2232-2 1-3 MHZ | N-A | NDT ENG. COR. | C2-A-16 | 1 | YES | A340 / 57-41-02 PB6 | 2010-09-13
3 | PROBE H.F | N-A | NEC-2231-1 1-6 MHZ | N-A | NDT ENG. COR. | C2-A-17 | 1 | YES | A340 / 57-41-02 PB6 | 2010-09-13
4 | PROBE H.F | N-A | NEC-2232-1 1-3 MHZ | N-A | NDT ENG. COR. | C2-A-18 | 1 | YES | A340 / 57-41-02 PB6 | 2010-09-13
5 | PROBE H.F | N-A | 813P027A 1-3 MHZ | 20968 | AEROFAB NDT | C2-A-19 | 1 | YES | A340 / 57-41-02 PB6 | 2019-07-15
6 | PROBE H.F | N-A | 813P028A 1-3 MHZ | 20967 | AEROFAB NDT | C2-A-20 | 1 | YES | A340 / 57-41-02 PB6 | 2019-07-15
METHOD: EDDY CURRENT
LIST OF: H.F PROBES
SECTION: C2-A-16

## C2-A-17
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | AFT PRESS. BULKHEAD AFT WEB AT THE LAP SPLICES | N-A | N-A | N-A | AEROFAB | C2-A-17 | 1 | YES | E.O 269 R2 S.B 53A0078 | 2018-10-15
2 | REFERENCE STANDARD | N-A | NDT 787 | 15561 | AEROFAB | C2-A-17 | 1 | YES | E.O 269 R2 S.B 53A0078 | 2018-10-15
3 | PROBE 20-300KHZ | N-A | AF-4018 | 15417 | AEROFAB | C2-A-17 | 1 | YES | E.O 269 R2 S.B 53A0078 | 2018-10-15
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C2-A-17

## C2-B-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | PROBE Ø 11/64 in | N-A | 621P011 | 86611/1 | HOCKING | C2-B-1-1 | 1 | YES | GEN | 24/10/1994
2 | PROBE Ø 3.87mm | N-A | 11116 | N-A | ROHMAN | C2-B-1-2 | 1 | YES | GEN | 1/7/2013
3 | PROBE Ø 3.9 mm | N-A | R9821 | N-A | ROHMAN | C2-B-1-3 | 1 | YES | GEN | 26/7/2011
4 | PROBE Ø 3/64 in | N-A | 621P012 | 72361/1 | HOCKING | C2-B-1-4 | 1 | YES | GEN | 24/10/1994
5 | PROBE Ø 4.2 mm | N-A | R9823 | N-A | ROHMAN | C2-B-1-5 | 1 | YES | GEN | 26/7/2011
6 | PROBE Ø 4.27 mm | N-A | 11114 | N-A | ROHMAN | C2-B-1-6 | 1 | YES | GEN | 2013-07-01
7 | PROBE Ø 4.66 mm | N-A | 11118 | N-A | ROHMAN | C2-B-1-7 | 1 | YES | GEN | 2013-01-07
8 | PROBE Ø 4.7 mm | N-A | R9825 | N-A | ROHMAN | C2-B-1-8 | 1 | YES | GEN | 26/7/2011
9 | PROBE Ø 4.7 mm | N-A | R9824 | N-A | ROHMAN | C2-B-1-9 | 1 | YES | GEN | 26/7/2011
10 | PROBE Ø 13/64 in | N-A | 621P13 | 86680/1 | HOCKING | C2-B-1-10 | 1 | YES | GEN | 24/10/1994
11 | PROBE Ø 7/32 in | N-A | 621P014 | 72362/1 | HOCKING | C2-B-1-11 | 1 | YES | GEN | 24/10/1994
12 | PROBE Ø 5.64 mm | N-A | 11120 | N-A | ROHMAN | C2-B-1-12 | 2 | YES | GEN | 2013-01-07
13 | PROBE Ø 15/64 in | N-A | 621P015 | 86681/1 | HOCKING | C2-B-1-13 | 1 | YES | GEN | 24/10/2013
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
14 | PROBE Ø 1/4 | N-A | 621P016 | 34052/1 | HOCKING | C2-B-1-14 | 1 | YES | GEN | 24/10/2013
15 | PROBE Ø 6.25 | N-A | 11123 | N-A | ROHMAN | C2-B-1-15 | 1 | YES | GEN | 2013-01-07
16 | PROBE Ø 17/64 | N-A | 621P017 | 34053/1 | HOCKING | C2-B-1-16 | 1 | YES | GEN | 24/10/1994
17 | PROBE Ø 9/32 | N-A | 621P18 | 72363/1 | HOCKING | C2-B-1-17 | 1 | YES | GEN | 24/10/1994
18 | PROBE Ø 19/64 | N-A | 621P019 | 87648/1 | HOCKING | C2-B-1-18 | 1 | YES | GEN | 24/10/1994
19 | PROBE Ø 5/16 | N-A | 621P020 | 34054/1 | HOCKING | C2-B-1-19 | 1 | YES | GEN | 24/10/1994
20 | PROBE Ø 21/64 | N-A | 621P021 | 34055/1 | HOCKING | C2-B-1-20 | 1 | YES | GEN | 24/10/1994
21 | PROBE Ø 11/32 | N-A | 621P022 | 72364/1 | HOCKING | C2-B-1-21 | 1 | YES | GEN | 24/10/1994
22 | PROBE Ø 23/64 | N-A | 621P023 | 86682/1 | HOCKING | C2-B-1-22 | 1 | YES | GEN | 24/10/1994
23 | PROBE Ø 3/8 | N-A | 621P024 | 34056/1 | HOCKING | C2-B-1-23 | 1 | YES | GEN | 24/10/1994
24 | PROBE Ø 3/8 | N-A | 621P024 | 103931/01 | HOCKING | C2-B-1-24 | 1 | YES | GEN | 24/10/1994
25 | PROBE Ø 25/64 | N-A | 621P025 | 34057/1 | HOCKING | C2-B-1-25 | 1 | YES | GEN | 13/6/2002
26 | PROBE Ø 25/64 | N-A | 621P025 | 103932/01 | HOCKING | C2-B-1-26 | 1 | YES | GEN | 24/10/1994
27 | PROBE Ø 13/32 | N-A | 621P026 | 103933/01 | HOCKING | C2-B-1-27 | 1 | YES | GEN | 24/10/1994
28 | PROBE Ø 27/64 | N-A | 621P027 | 87649/1 | HOCKING | C2-B-1-28 | 1 | YES | GEN | 24/10/1994
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
29 | PROBE Ø 27/64 | N-A | 621P027 | 103953/01 | HOCKING | C2-B-1-29 | 1 | YES | GEN | 13/6/2002
30 | PROBE Ø 7/16 | N-A | 621P028 | 34058/1 | HOCKING | C2-B-1-30 | 1 | YES | GEN | 24/10/1994
31 | PROBE Ø 7/16 | N-A | 621P028 | 103934/01 | HOCKING | C2-B-1-31 | 1 | YES | GEN | 13/6/2002
32 | PROBE Ø 29/64 | N-A | 621P029 | 103935/01 | HOCKING | C2-B-1-32 | 1 | YES | GEN | 24/10/1994
33 | PROBE Ø 29/64 | N-A | 621P029 | 34059/1 | HOCKING | C2-B-1-33 | 1 | YES | GEN | 28/2/2002
34 | PROBE Ø 15/32 | N-A | 621P030 | 104009/01 | HOCKING | C2-B-1-34 | 1 | YES | GEN | 13/6/2002
35 | PROBE Ø 15/32 | N-A | 621P030 | 34060/1 | HOCKING | C2-B-1-35 | 1 | YES | GEN | 24/10/1994
36 | PROBE Ø 31/64 | N-A | 621P031 | 87650/1 | HOCKING | C2-B-1-36 | 1 | YES | GEN | 28/2/2002
37 | PROBE Ø 31/64 | N-A | 621P031 | 103954/01 | HOCKING | C2-B-1-37 | 1 | YES | GEN | 28/2/2002
38 | PROBE Ø 1/2 | N-A | 621P032 | 34121/1 | HOCKING | C2-B-1-38 | 1 | YES | GEN | 13/6/2002
39 | PROBE Ø 1/2 | N-A | 621P032 | 104010/01 | HOCKING | C2-B-1-39 | 1 | YES | GEN | 24/10/1994
40 | PROBE Ø 33/64 | N-A | 621P033 | 104011/02 | HOCKING | C2-B-1-40 | 1 | YES | GEN | 13/6/2002
41 | PROBE Ø 33/64 | N-A | 621P033 | 34061/1 | HOCKING | C2-B-1-41 | 1 | YES | GEN | 28/3/2001
42 | PROBE Ø 17/32 | N-A | 621P034 | 34062/1 | HOCKING | C2-B-1-42 | 1 | YES | GEN | 28/3/2001
43 | PROBE Ø 17/32 | N-A | 621P034 | 103936/01 | HOCKING | C2-B-1-43 | 1 | YES | GEN | 28/3/2001
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
44 | PROBE Ø 35/64 | N-A | 621P035 | 87651/1 | HOCKING | C2-B-1-44 | 1 | YES | GEN | 28/3/2001
45 | PROBE Ø 9/16 | N-A | 621P036 | 103937/01 | HOCKING | C2-B-1-45 | 1 | YES | GEN | 28/3/2001
46 | PROBE Ø 37/64 | N-A | 621P037 | 87805/1 | HOCKING | C2-B-1-46 | 1 | YES | GEN | 24/10/1994
47 | PROBE Ø 37/64 | N-A | 621P037 | 103956/01 | HOCKING | C2-B-1-47 | 1 | YES | GEN | 28/3/2001
48 | PROBE Ø 19/32 | N-A | 621P038 | 72367/1 | HOCKING | C2-B-1-48 | 1 | YES | GEN | 28/3/2001
49 | PROBE Ø 19/32 | N-A | 621P038 | 103938/01 | HOCKING | C2-B-1-49 | 1 | YES | GEN | 28/3/2001
50 | PROBE Ø 39/64 | N-A | 621P039 | 87652/1 | HOCKING | C2-B-1-50 | 1 | YES | GEN | 28/3/2001
51 | PROBE Ø 5/6 | N-A | 621P040 | 72368/1 | ROHMAN | C2-B-1-51 | 1 | YES | GEN | 2002-02-07
52 | PROBE Ø 41/64 | N-A | 621P041 | 87653/1 | ROHMAN | C2-B-1-52 | 1 | YES | GEN | 24/10/1994
53 | PROBE Ø 21/32 | N-A | 621P042 | 87654/1 | ROHMAN | C2-B-1-53 | 1 | YES | GEN | 2013-07-01
54 | PROBE Ø 43/64 | N-A | 621P043 | 87655/1 | ROHMAN | C2-B-1-54 | 1 | YES | GEN | 2013-07-01
55 | PROBE Ø 11/16 | N-A | 621P044 | 72369/1 | ROHMAN | C2-B-1-55 | 1 | YES | GEN | 2013-07-01
56 | PROBE Ø 45/64 | N-A | 621P045 | 87656/1 | ROHMAN | C2-B-1-56 | 1 | YES | GEN | 2013-07-01
57 | PROBE Ø 47/64 | N-A | 621P047 | 87806/1 | ROHMAN | C2-B-1-57 | 1 | YES | GEN | 2013-07-01
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-B-1
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-B
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-B-1
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-B-1

## C2-B-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | TEST PIECE | N-A | 2.887-01-9313-S | 212 | D.FROSTOR | C2-B-2 | 1 | YES | GEN | 15/9/1999
2 | TEST PIECE | N-A | 2.887-01-9314-S | 219 | D.FROSTOR | C2-B-2 | 1 | YES | GEN | 15/9/1999
3 | TEST PIECE | N-A | 2.887-01-9315-S | 237 | D.FROSTOR | C2-B-2 | 1 | YES | GEN | 15/9/1999
4 | TEST PIECE | N-A | 2.887-01-9316-S | 241 | D.FROSTOR | C2-B-2 | 1 | YES | GEN | 15/9/1999
METHOD: EDDY CURRENT
LIST OF: TEST PIECES
SECTION: C2-B-2

## C2-B-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | PROBE Ø 3/4 | N-A | 621P048 | 72370/1 | HOCKING | C2-B-3-1 | 1 | YES | GEN | 1994-10-24
2 | PROBE Ø 49/64 | N-A | 621P049 | 87658/1 | HOCKING | C2-B-3-2 | 1 | YES | GEN | 2001-03-28
3 | PROBE Ø 25/32 | N-A | 621P050 | 87773/1 | HOCKING | C2-B-3-3 | 1 | YES | GEN | 2001-03-28
4 | PROBE Ø 51/64 | N-A | 621P051 | 87659/1 | HOCKING | C2-B-3-4 | 1 | YES | GEN | 2001-03-28
5 | PROBE Ø 53/64 | N-A | 621P053 | 87660/1 | HOCKING | C2-B-3-5 | 1 | YES | GEN | 2001-03-28
6 | PROBE Ø 27/32 | N-A | 621P054 | 87774/1 | HOCKING | C2-B-3-6 | 1 | YES | GEN | 2001-03-28
7 | PROBE Ø 55/64 | N-A | 621P055 | 87661/1 | HOCKING | C2-B-3-7 | 1 | YES | GEN | 2001-03-28
8 | PROBE Ø 7/8 | N-A | 621P056 | 72372/1 | HOCKING | C2-B-3-8 | 1 | YES | GEN | 1994-10-24
9 | PROBE Ø 57/64 | N-A | 621P057 | 87807/1 | HOCKING | C2-B-3-9 | 1 | YES | GEN | 2001-03-28
10 | PROBE Ø 29/32 | N-A | 621P058 | 87877/1 | HOCKING | C2-B-3-10 | 1 | YES | GEN | 2001-03-28
11 | PROBE Ø 59/64 | N-A | 621P059 | 87662/1 | HOCKING | C2-B-3-11 | 1 | YES | GEN | 2001-03-28
12 | PROBE Ø 15/16 | N-A | 621P060 | 87775/1 | HOCKING | C2-B-3-12 | 1 | YES | GEN | 2001-03-28
13 | PROBE Ø 61/64 | N-A | 621P061 | 87663/1 | HOCKING | C2-B-3-13 | 1 | YES | GEN | 2001-03-28
14 | PROBE Ø 31/32 | N-A | 621P062 | 76009/1 | HOCKING | C2-B-3-14 | 1 | YES | GEN | 2001-03-28
15 | PROBE Ø 63/64 | N-A | 621P063 | 87664/1 | HOCKING | C2-B-3-15 | 1 | YES | GEN | 2001-03-28
16 | PROBE Ø 1 | N-A | 621P064 | 72373/1 | HOCKING | C2-B-3-16 | 1 | YES | GEN | 2001-03-28
17 | PROBE RS Ø 13.8 ×100MM | N-A | RS Ø 13.8 | 11107 | ROHMAN | C2-B-3-17 | 1 | YES | GEN | 2013-07-01
18 | PROBE RS Ø 16.6 ×100MM | N-A | RS Ø 16.6 | 11113 | ROHMAN | C2-B-3-18 | 1 | YES | GEN | 2013-07-01
19 | PROBE RS Ø 15.8 ×100MM | N-A | RS Ø 15.8 | 11111 | ROHMAN | C2-B-3-19 | 1 | YES | GEN | 2013-07-01
20 | PROBE RS Ø 16.2 ×100MM | N-A | RS Ø 16.2 | 11108 | ROHMAN | C2-B-3-20 | 1 | YES | GEN | 2013-07-01
METHOD: EDDY CURRENT
LIST OF: TEST PIECES
SECTION: C2-B-3

## C2-B-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
PYLON FUSE PIN INSPECTION
1 | PROBE | N-A | TEK-3009-1-565/ 1.685 | 0 32160 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
2 | PROBE | N-A | TEK-3009-1.12/ 1.24 | 0 32161 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
3 | PROBE | N-A | TEK-3011-1.565/ 1.685 | 0 32147 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
4 | PROBE | N-A | TEK-3011-1.12/ 1.24 | 0 32146 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
5 | PROBE | N-A | TEK-3011-235/ 1.355 | 0 32145 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
6 | TEST STD. | N-A | NDT712 | 12110602 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
7 | TEST STD. | N-A | NDT711 | 12110601 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
8 | TEST STD. | N-A | NDT710 | 12110600 | TEHNA NDT | C2-B-4 | 1 | YES | B777 / 54-51-01 | 2012-11-18
METHOD: EDDY CURRENT
LIST OF: PROBES & TEST PIECES
SECTION: C2-B-4

## C2-C-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | PROBE Ø 2.7 mm | N-A | 11097 | N - A | ROHMAN | C2-C-1-1 | 1 | YES | GEN | 1/702013
2 | EMPTY |  |  |  |  | C2-C-1-2 | EMPTY
3 | PROBE Ø 3 mm | N-A | 11102 | N - A | ROHMAN | C2-C-1-3 | 1 | YES | GEN | 2013-01-07
4 | PROBE Ø3.9 mm | N-A | 11099 | N - A | ROHMAN | C2-C-1-4 | 1 | YES | GEN | 2013-01-07
5 | PROBE Ø 3.9 mm | N-A | RS35.3.9 | 2084 | ROHMAN | C2-C-1-5 | 1 | YES | GEN | 15/1/2012
6 | PROBE Ø 4.7 mm | N-A | AS0470AA | 2083 | ROHMAN | C2-C-1-6 | 1 | YES | GEN | 15/1/2013
7 | PROBE Ø 4.7 mm | N-A | 11100 | N - A | ROHMAN | C2-C-1-7 | 1 | YES | GEN | 2013-01-07
8 | EMPTY |  |  |  |  | C2-C-1-8 | EMPTY
9 | PROBE Ø 5 mm | N-A | 11105 | N - A | ROHMAN | C2-C-1-9 | 1 | YES | GEN | 2013-01-07
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
10 | PROBE Ø 5.4 mm | N-A | AS0540AA | 92719 | ROHMAN | C2-C-1-10 | 1 | YES | GEN | 2013-01-07
11 | PROBE Ø 6.2 mm | N-A | KD-I-H-1472 | 5009 | ROHMAN | C2-C-1-11 | 1 | YES | GEN | 28/3/1996
12 | PROBE Ø 6.2 mm | N-A | KD-I-H-1472 | 2126 | ROHMAN | C2-C-1-12 | 1 | YES | GEN | 28/3/1996
13 | PROBE Ø 6.2 mm | N-A | N-A | 1228 | ROHMAN | C2-C-1-13 | 1 | YES | GEN | 1996-03-28
14 | PROBE Ø 15/64 in | N-A | 615P015 | 86706/1 | ROHMAN | C2-C-1-14 | 1 | YES | GEN | 28/3/1996
15 | PROBE Ø 6.4 mm | N-A | RSM50 | 2897 | ROHMAN | C2-C-1-15 | 1 | YES | GEN | 28/3/1996
16 | PROBE Ø 6.6 mm | N-A | A30000AA | 965 | ROHMAN | C2-C-1-16 | 1 | YES | GEN | 15/9/1998
17 | PROBE Ø 7 mm | N-A | RS35/.276 | 92548 | ROHMAN | C2-C-1-17 | 1 | YES | GEN | 15/9/1998
18 | PROBE Ø 7 mm | N-A | AS0770AA | 2080 | ROHMAN | C2-C-1-18 | 1 | YES | GEN | 15/9/1998
19 | PROBE Ø 7.2 mm | N-A | RSM50 | 2898 | ROHMAN | C2-C-1-19 | 1 | YES | GEN | 15/9/1998
20 | PROBE Ø 7.8 mm | N-A | AS0780AA | 2079 | ROHMAN | C2-C-1-20 | 1 | YES | GEN | 15/9/1998
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
21 | PROBE Ø 7.8 mm | N-A | AS0390AA | 2564 | ROHMAN | C2-C-1-21 | 1 | YES | GEN | 15/9/1998
22 | PROBE Ø 8 mm | N-A | RSM50 | 2899 | ROHMAN | C2-C-1-22 | 1 | YES | GEN | 1998-05-09
23 | PROBE Ø 8.2 mm | N-A | AS0820AA | 1478 | ROHMAN | C2-C-1-23 | 1 | YES | GEN | 15/9/1998
24 | PROBE Ø 8.6 mm | N-A | AS0860AA | 2077 | ROHMAN | C2-C-1-24 | 1 | YES | GEN | 15/9/1998
25 | PROBE Ø 23/64 in | N-A | 10CKIN | 615P023 | ROHMAN | C2-C-1-25 | 1 | YES | GEN | 28/3/1996
26 | PROBE Ø 9.4 mm | N-A | RSM35 | 2089 | ROHMAN | C2-C-1-26 | 1 | YES | GEN | 15/9/1998
27 | PROBE Ø 9.4 mm | N-A | N-A | 2076 | ROHMAN | C2-C-1-27 | 1 | YES | GEN | 15/9/1998
28 | PROBE Ø 9.8 mm | N-A | N-A | 1991 | ROHMAN | C2-C-1-28 | 1 | YES | GEN | 2009-07-10
29 | PROBE Ø 9.8 mm | N-A | N-A | 2090 | ROHMAN | C2-C-1-29 | 1 | YES | GEN | 2009-07-10
30 | PROBE Ø 10.2 mm | N-A | AS1020AA | 1482 | ROHMAN | C2-C-1-30 | 1 | YES | GEN | 2009-07-10
31 | PROBE Ø 27/64 in | N-A | 615P027 | 86458/1 | ROHMAN | C2-C-1-31 | 1 | YES | GEN | 2009-07-10
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
32 | PROBE Ø 11mm | N-A | AS1140AA | 1539 | ROHMAN | C2-C-1-32 | 1 | YES | GEN | 2009-07-10
33 | PROBE Ø 11 mm | N-A | RSM35 | 2091 | ROHMAN | C2-C-1-33 | 1 | YES | GEN | 2009-07-10
34 | PROBE Ø 11 mm | N-A | M.R.S | 931 | ROHMAN | C2-C-1-34 | 1 | YES | GEN | 2009-07-10
35 | PROBE Ø 11.4 mm | N-A | AS1140AA | 936 | ROHMAN | C2-C-1-35 | 1 | YES | GEN | 2009-07-09
36 | PROBE Ø 11.4 mm | N-A | AS1140AA | 2074 | ROHMAN | C2-C-1-36 | 1 | YES | GEN | 2009-07-10
37 | PROBE Ø 11.8 mm | N-A | AS1100AA | 1530 | ROHMAN | C2-C-1-37 | 1 | YES | GEN | 2009-07-10
38 | PROBE Ø 31/64 in | N-A | 615P031 | 86459/1 | ROHMAN | C2-C-1-38 | 1 | YES | GEN | 2009-07-10
39 | PROBE Ø 12.6 mm | N-A | M.R.S | 2092 | ROHMAN | C2-C-1-39 | 1 | YES | GEN | 2009-07-10
40 | EMPTY |  |  |  |  | C2-C-1-40 | EMPTY
41 | PROBE Ø 13.3 mm | N-A | M.R.S | 3313 | ROHMAN | C2-C-1-41 | 1 | YES | GEN | 2001-08-05
42 | PROBE Ø 14.2 mm | N-A | M.R.S | 911 | ROHMAN | C2-C-1-42 | 1 | YES | GEN | 2001-08-05
43 | PROBE Ø 14.2 mm | N-A | RSM4.7-80 | 3353 | ROHMAN | C2-C-1-43 | 1 | YES | GEN | 2001-08-05
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
44 | PROBE Ø 14.6 mm | N-A | M.R.S | 2094 | ROHMAN | C2-C-1-44 | 1 | YES | GEN | 2001-08-05
45 | PROBE Ø15.8 mm | N-A | M.R.S | 2095 | ROHMAN | C2-C-1-45 | 1 | YES | GEN | 2001-08-05
46 | PROBE Ø 16.1 | N-A | M.R.S | 2096 | ROHMAN | C2-C-1-46 | 1 | YES | GEN | 2001-08-05
47 | PROBE Ø 37/64 in | N-A | 615P037 | 86461/1 | ROHMAN | C2-C-1-47 | 1 | YES | GEN | 2001-08-05
48 | PROBE Ø 39/64 in | N-A | 615P039 | 86462/1 | ROHMAN | C2-C-1-48 | 1 | YES | GEN | 2001-08-05
49 | PROBE Ø 41/64 in | N-A | 615P041 | 86463/1 | ROHMAN | C2-C-1-49 | 1 | YES | GEN | 2001-08-05
50 | PROBE Ø21/32 in | N-A | 615P042 | 86464/1 | ROHMAN | C2-C-1-50 | 1 | YES | GEN | 2001-08-05
51 | PROBE Ø 45/64 in | N-A | 615P045 | 86466/1 | ROHMAN | C2-C-1-51 | 1 | YES | GEN | 2001-08-05
52 | PROBE Ø 43/64 in | N-A | 615P043 | 86465/1 | ROHMAN | C2-C-1-52 | 1 | YES | GEN | 2001-08-05
53 | PROBE Ø 23/32 in | N-A | 615P046 | 86467/1 | ROHMAN | C2-C-1-53 | 1 | YES | GEN | 20/12/2002
54 | PROBE Ø 47/64 in | N-A | 615P047 | 86468/1 | ROHMAN | C2-C-1-54 | 1 | YES | GEN | 20/12/2002
55 | PROBE Ø 49/64 in | N-A | 615P049 | 86469/1 | ROHMAN | C2-C-1-55 | 1 | YES | GEN | 2002-02-12
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
56 | PROBE Ø 25/32 in | N-A | 615P050 | 86470/1 | ROHMAN | C2-C-1-56 | 1 | YES | GEN | 2002-02-12
57 | PROBE Ø 51/64 in | N-A | 615P051 | 86471/1 | ROHMAN | C2-C-1-57 | 1 | YES | GEN | 2002-02-12
58 | PROBE Ø 53/64 in | N-A | 615P053 | 86472/1 | ROHMAN | C2-C-1-58 | 1 | YES | GEN | 2002-02-12
59 | PROBE Ø 27/32 in | N-A | 615P054 | 86473/1 | ROHMAN | C2-C-1-59 | 1 | YES | GEN | 2002-02-12
60 | PROBE Ø 57/64 in | N-A | 615P057 | 86475/1 | ROHMAN | C2-C-1-60 | 1 | YES | GEN | 2002-02-12
61 | PROBE Ø 4.7 mm | N-A | RSM 4.7-80 | 3636 | ROHMAN | C2-C-1-61 | 1 | YES | GEN | 2002-02-12
62 | PROBE Ø 29/32 in | N-A | 615P058 | 86476/1 | ROHMAN | C2-C-1-62 | 1 | YES | GEN | 2002-02-12
63 | PROBE Ø 59/64 in | N-A | 615P059 | 86477/1 | ROHMAN | C2-C-1-63 | 1 | YES | GEN | 2002-02-12
64 | PROBE Ø 15/16 in | N-A | 615P060 | 86478/1 | ROHMAN | C2-C-1-64 | 1 | YES | GEN | 2002-02-12
65 | PROBE Ø 4.7 mm | N-A | RSM 4.7-80 | 3637 | ROHMAN | C2-C-1-65 | 1 | YES | GEN | 2002-02-12
66 | PROBE Ø 61/64 in | N-A | 615P061 | 86479/1 | ROHMAN | C2-C-1-66 | 1 | YES | GEN | 2002-02-12
67 | PROBE Ø 6.25 mm | N-A | RSM 6.2-80 | 3639 | ROHMAN | C2-C-1-67 | 1 | YES | GEN | 2002-02-12
68 | PROBE Ø 31/32 in | N-A | 615P062 | 86480/1 | ROHMAN | C2-C-1-68 | 1 | YES | GEN | 2002-02-12
69 | PROBE Ø 6.25 mm | N-A | RSM 6.2-80 | 3638 | ROHMAN | C2-C-1-69 | 1 | YES | GEN | 2002-02-12
70 | PROBE Ø 63/64 in | N-A | 615P063 | 86481/1 | ROHMAN | C2-C-1-70 | 1 | YES | GEN | 2002-02-12
METHOD: EDDY CURRENT
LIST OF: PROBES
SECTION: C2-C-1
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-C-1
METHOD: EDDY CURRENT
LIST OF: PROBES
SECTION: C2-C-1
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-C-1
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-C-1
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-C-1

## C2-C-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | PROBE Ø 3.9 mm | N-A | RS35 | 1923 | ROHMAN | C2-C-2-1 | 1 | YES | GEN | 24/10/1994
2 | PROBE Ø 4.7mm | N-A | RS35 | NA | ROHMAN | C2-C-2-2 | 1 | YES | GEN | 24/10/1994
3 | PROBE Ø 5.4mm | N-A | RS35 | NA | ROHMAN | C2-C-2-3 | 1 | YES | GEN | 24/10/1994
4 | PROBE Ø 5.7mm | N-A | RS35 | NA | ROHMAN | C2-C-2-4 | 1 | YES | GEN | 24/10/1994
5 | PROBE Ø 6.2mm | N-A | RS35 | NA | ROHMAN | C2-C-2-5 | 1 | YES | GEN | 24/10/1994
6 | PROBE Ø 7.0mm | N-A | RS50 | NA | ROHMAN | C2-C-2-6 | 1 | YES | GEN | 24/10/1994
7 | PROBE Ø 7.3mm | N-A | RS50 | NA | ROHMAN | C2-C-2-7 | 1 | YES | GEN | 24/10/1994
8 | PROBE Ø 7.8 mm | N-A | RS50 | NA | ROHMAN | C2-C-2-8 | 1 | YES | GEN | 24/10/1994
9 | PROBE Ø 9.4mm | N-A | RS50 | 89386 | ROHMAN | C2-C-2-9 | 1 | YES | GEN | 24/10/1994
10 | PROBE Ø 11mm | N-A | RS50 | 1424 | ROHMAN | C2-C-2-10 | 1 | YES | GEN | 24/10/1994
11 | PROBE Ø 11.7mm | N-A | RS50 | 1961 | ROHMAN | C2-C-2-11 | 1 | YES | GEN | 24/10/1994
12 | PROBE Ø 12.6mm | N-A | RS50 | 89390 | ROHMAN | C2-C-2-12 | 1 | YES | GEN | 24/10/1994
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
13 | PROBE Ø 12-9mm | N-A | RS50 | 89391 | ROHMAN | C2-C-2-13 | 1 | YES | GEN | 1994-04-09
14 | PROBE Ø 13-7mm | N-A | RS50 | 1960 | ROHMAN | C2-C-2-14 | 1 | YES | GEN | 1997-11-30
15 | PROBE Ø 14-2mm | N-A | RS50 | 89394 | ROHMAN | C2-C-2-15 | 1 | YES | GEN | 1997-10-12
16 | PROBE Ø 14-5mm | N-A | RS50 | 89396 | ROHMAN | C2-C-2-16 | 1 | YES | GEN | 1997-11-30
17 | PROBE Ø 17-7mm | N-A | RS50 | 1959 | ROHMAN | C2-C-2-17 | 1 | YES | GEN | 1997-11-30
18 | PROBE Ø 9-5mm | N-A | MBB404.9-0 | N-A | ROHMAN | C2-C-2-18 | 1 | YES | GEN | 2004-01-13
19 | PROBE Ø 4-2mm | N-A | R9822 | N-A | ROHMAN | C2-C-2-19 | 1 | YES | GEN | 2004-01-13
20 | PROBE Ø 35/64 mm | N-A | 621P035 | 103955/01 | ROHMAN | C2-C-2-20 | 1 | YES | GEN | 2004-01-13
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-C-2
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-C-2

## C2-C-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | PROBE Ø 3.8/ Ø 7.7 | N-A | ARM9950554001081 | N-A | ROHMAN | C2-C-3-1 | 1 | YES | GEN | 31/10/2007
2 | PROBE Ø 4.6/Ø 8.5 | N-A | ARM9950554001091 | N-A | ROHMAN | C2-C-3-2 | 1 | YES | GEN | 31/10/2007
3 | PROBE Ø 5.4 / Ø 9.3 | N-A | ARM9950554001101 | N-A | ROHMAN | C2-C-3-3 | 1 | YES | GEN | 31/10/2007
4 | PROBE Ø 6.2 /Ø 10 | N-A | ARM9950554001111 | N-A | ROHMAN | C2-C-3-4 | 1 | YES | GEN | 31/10/2007
5 | PROBE Ø 3.8 / Ø 6 | N-A | ARM9950554001121 | N-A | ROHMAN | C2-C-3-5 | 1 | YES | GEN | 31/10/2007
6 | PROBE Ø 4.6/Ø 7 | N-A | ARM9950554001131 | N-A | ROHMAN | C2-C-3-6 | 1 | YES | GEN | 31/10/2007
7 | PROBE Ø 5.4/ Ø 7.7 | N-A | ARM9950554001141 | N-A | ROHMAN | C2-C-3-7 | 1 | YES | GEN | 31/10/2007
8 | PROBE Ø 6.2 /Ø 8.5 | N-A | ARM9950554001151 | N-A | ROHMAN | C2-C-3-8 | 1 | YES | GEN | 31/10/2007
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-C-3

## C2-C-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
AFT PRESS. BULKHEAD BS ( 1016 )
1 | TEST PIECE | N-A | A389A | 11112903 | TECHNA-NDT | C2-C-4-1 | 1 | YES | 737-500/800 53-10-41 | 2011-08-12
2 | TEST PIECE | N-A | A389B | 11112904 | TECHNA-NDT | C2-C-4-2 | 1 | YES | 737-500/800 53-10-41 | 2011-08-13
3 | TEST PIECE | N-A | A389C | 11112905 | TECHNA-NDT | C2-C-4-3 | 1 | YES | 737-500/800 53-10-41 | 2011-08-14
4 | PROBE 700KH | N-A | SPO-5327 | 0 28707 | TECHNA-NDT | C2-C-4-4 | 1 | YES | 737-500/800 53-10-41 | 2011-03-12
5 | PROBE 500KH | N-A | SPO-5328 | 0 28706 | TECHNA-NDT | C2-C-4-5 | 1 | YES | 737-500/800 53-10-41 | 2011-03-12
6 | PROBE 250X | N-A | NEC-1087 | 0 28714 | TECHNA-NDT | C2-C-4-6 | 1 | YES | 737-500/800 53-10-41 | 2011-03-12
7 | CABLE | N-A | BR-T6-R | N - A | TECHNA-NDT | C2-C-4-7 | 1 | YES | 737-500/800 53-10-41 | 2011-03-12
METHOD: EDDY CURRENT
LIST OF: PROBES & TEST PIECES
SECTION: C2-C-4

## C2-C-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | CABLE | N-A | EK-2-HF/1 | N - A | D.FROSTOR | C2-C-5-1 | 1 | YES | GEN | 2014-08-01
2 | CABLE | N-A | CC-FF501-250 | TJ729 | D.FROSTOR | C2-C-5-2 | 1 | YES | GEN | 2014-08-01
3 | PROBE | N-A | MDK-3H-1178 | A00NMC | ROHMAN | C2-C-5-3 | 1 | YES | GEN | 2014-08-01
4 | ROTO TEST PROBE | N-A | RS Ø 13.8 × 100MM | 11106 | ROHMAN | C2-C-5-4 | 1 | YES | GEN | 2014-08-01
5 | ROTO TEST PROBE | N-A | RS Ø 15.8 × 100MM | 11110 | ROHMAN | C2-C-5-5 | 1 | YES | GEN | 2014-08-01
6 | ROTO TEST PROBE | N-A | RS Ø 16.2 × 100MM | 11109 | ROHMAN | C2-C-5-6 | 1 | YES | GEN | 2014-08-01
7 | ROTO TEST PROBE | N-A | RS Ø 16.6 × 100MM | 11112 | ROHMAN | C2-C-5-7 | 1 | YES | GEN | 2014-08-01
8 | ROTO TEST PROBE | N-A | RS Ø 6.25 × 75MM | 11122 | ROHMAN | C2-C-5-8 | 1 | YES | GEN | 2014-08-01
9 | ROTO TEST PROBE | N-A | RS Ø 5.46 × 75MM | 11121 | ROHMAN | C2-C-5-9 | 1 | YES | GEN | 2014-08-01
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
10 | ROTO TEST PROBE | N-A | RS Ø 4.66 | 11119 | ROHMAN | C2-C-5-10 | 1 | YES | GEN | 2014-08-01
11 | ROTO TEST PROBE | N-A | RS Ø 4.27 | 11115 | ROHMAN | C2-C-5-11 | 1 | YES | GEN | 2014-08-01
12 | ROTO TEST PROBE | N-A | RS Ø 3.90 | 11098 | ROHMAN | C2-C-5-12 | 1 | YES | GEN | 2014-08-01
13 | ROTO TEST PROBE | N-A | RS Ø 4.70 | 11101 | ROHMAN | C2-C-5-13 | 1 | YES | GEN | 2014-08-01
14 | ROTO TEST PROBE | N-A | RS Ø 5.00 | 11104 | ROHMAN | C2-C-5-14 | 1 | YES | GEN | 2014-08-01
15 | ROTO TEST PROBE | N-A | RS Ø 3.87 | 11117 | ROHMAN | C2-C-5-15 | 1 | YES | GEN | 2014-08-01
16 | ROTO TEST PROBE | N-A | RS Ø 3.00 | 11103 | ROHMAN | C2-C-5-16 | 1 | YES | GEN | 2014-08-01
17 | ROTO TEST PROBE | N-A | RS Ø 2.70 | 11096 | ROHMAN | C2-C-5-17 | 1 | YES | GEN | 2014-08-01
18 | ADAPTOR | N-A | ARM-1 | 1123 | ROHMAN | C2-C-5-18 | 1 | YES | GEN | 2014-08-01
19 | ADAPTOR | N-A | GEIT40A002A | N - A | ROHMAN | C2-C-5-19 | 1 | YES | GEN | 2014-08-01
20 | CABLE | N-A | 40A001 | EC00267/01 | OLYMPUS | C2-C-5-20 | 1 | YES | GEN | 2014-08-01
21 | CABLE | N-A | EK-2-HF/2 | N - A | ROHMAN | C2-C-5-21 | 1 | YES | GEN | 2015-08-01
22 | CABLE | N-A | 35517 | N - A | OLYMPUS | C2-C-5-22 | 1 | YES | GEN | 2014-08-01
23 | CABLE | N-A | 35525 | N - A | OLYMPUS | C2-C-5-23 | 1 | YES | GEN | 2014-08-01
24 | CABLE | N-A | 35534 | N - A | OLYMPUS | C2-C-5-24 | 1 | YES | GEN | 2014-08-01
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C2-C-5
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C2-C-5

## C2-C-6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | PROBE CABLE 1.3M | N-A | 2.837.01.1460188 | N-A | DR-FOERSTER | C2-C-6-1 | 17 | NO | GEN | 2015-12-01
2 | PROBE CABLE 1.3M | N-A | 1.837.01.9900 | N-A | DR-FOERSTER | C2-C-6-2 | 4 | NO | GEN | 2015-12-02
3 | SENSOR CABLE 3.0M | N-A | 2.832.02-9902 | N-A | DR-FOERSTER | C2-C-6-3 | 3 | NO | GEN | 2019-10-09
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C2-C-6

## C2-D-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | PROBE Ø 4.5, 6.2mm | N-A | 2.154-603 NFE | 118 | D.FROSTOR | C2-D-1-1 | 1 | YES | GEN | 1984-10-07
2 | PROBE Ø 6.5, 7-5mm | N-A | 2.154-607 NFE | 0 84 | D.FROSTOR | C2-D-1-2 | 1 | YES | GEN | 1984-10-07
3 | PROBE Ø 7.8,8.8mm | N-A | 2.154-611 NFE | 110 | D.FROSTOR | C2-D-1-3 | 1 | YES | GEN | 1984-10-07
4 | PROBE Ø 9-5 mm | N-A | 2.154 | N-A | D.FROSTOR | C2-D-1-4 | 1 | YES | GEN | 1984-10-07
5 | PROBE Ø 11-2 mm | N-A | 2.154 | N-A | D.FROSTOR | C2-D-1-5 | 1 | YES | GEN | 1984-10-07
6 | PROBE Ø 6.0,7.0mm | N-A | 2.154-505 FE | 0 162 | D.FROSTOR | C2-D-1-6 | 1 | YES | GEN | 1984-10-07
7 | PROBE Ø 7.0,8.0mm | N-A | 2.154-509 FE | 0 88 | D.FROSTOR | C2-D-1-7 | 1 | YES | GEN | 1984-10-07
8 | PROBE Ø 8.5, 9.5mm | N-A | 2.154-513 FE | 0 86 | D.FROSTOR | C2-D-1-8 | 1 | YES | GEN | 1984-10-07
9 | PROBE Ø 10.2,11.2mm | N-A | 2.154-517 FE | 0 88 | D.FROSTOR | C2-D-1-9 | 1 | YES | GEN | 1984-10-07
10 | PROBE Ø 11.0k12.0mm | N-A | 2.154-519 FE | 0 62 | D.FROSTOR | C2-D-1-10 | 1 | YES | GEN | 1984-10-07
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-D-1

## C2-D-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | TEST PIECE - ST. | N-A | 99A53003001105 | 12006052 | N.D.T | C2-D-2-1 | 1 | YES | GEN | 27/8/2000
2 | TEST PIECE - TI | N-A | 99A53003001104 | 12006053 | N.D.T | C2-D-2-2 | 1 | YES | GEN | 2005-01-07
3 | TEST PIECE - AL | N-A | 99A53003001101 | 0 1057774 | N.D.T | C2-D-2-3 | 1 | YES | GEN | 1996-01-07
4 | TEST PIECE - AL | N-A | 99A53003001103 | N-A | AEROSPOT. | C2-D-2-4 | 1 | YES | GEN | 1987-01-07
5 | TEST PIECE - ST. | N-A | MHS-29-1S-1 | 10063077 | NDT . ENG. | C2-D-2-5 | 1 | YES | GEN | 26/10/2006
6 | TEST PIECE - TI | N-A | MHS-29-1T-1 | 10063041A | NDT . ENG. | C2-D-2-6 | 1 | YES | GEN | 26/10/2006
7 | TEST PIECE - AL | N-A | 99A53003001106 | N-A | NDT . ENG. | C2-D-2-7 | 1 | YES | GEN | 2008-12-02
8 | TEST PIECE - ST. | N-A | 99A53003001102 | PO 1858 | OLYMPUS | C2-D-2-8 | 1 | YES | GEN | 23/3/2008
9 | TEST PIECE - TI. | N-A | 99A53003001107 | PO2446 | OLYMPUS | C2-D-2-9 | 1 | YES | GEN | 20/4/2008
10 | TEST PIECE - ST. | N-A | 99D54403001000 | NDTE350 | NDT . ENG. | C2-D-2-10 | 1 | YES | GEN | 2009-06-28
METHOD: EDDY CURRENT
LIST OF: TEST PIECES
SECTION: C2-D-2

## C2-D-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | FLEX PROBE Ø 9.8mm | N-A | N-A | 18 | ROHMAN | C2-D-3-1 | 1 | YES | GEN | 29/10/1994
2 | FLEX PROBE Ø 9.8mm | N-A | N-A | 1880 | ROHMAN | C2-D-3-2 | 1 | YES | GEN | 29/10/1994
3 | FLEX PROBE Ø 6.25mm | N-A | N-A | 112 | ROHMAN | C2-D-3-3 | 1 | YES | GEN | 29/10/1994
4 | FLEX ADAPTOR | N-A | A- 77-02-1 | 535 | ROHMAN | C2-D-3-4 | 1 | YES | GEN | 29/10/1994
5 | ADAPTOR | N-A | N-A | N-A | ROHMAN | C2-D-3-5 | 1 | YES | GEN | 29/10/1994
6 | FLEX PROBE Ø 04.1mm | N-A | KD-1-H-524 | 5039 | ROHMAN | C2-D-3-6 | 1 | YES | GEN | 29/10/1994
METHOD: EDDY CURRENT
LIST OF: ROTOTEST PROBES
SECTION: C2-D-3

## C2-D-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | HAND ROTOR UNIT | N-A | MR 3-MF | 05-3-793 | ROHMAN | C2-D-4-1 | 1 | YES | GEN | 2006-08-10
2 | HAND ROTOR UNIT | N-A | SR2-MF | 96.1.127 | ROHMAN | C2-D-4-2 | 1 | YES | GEN | 2006-08-10
3 | HAND ROTOR UNIT | N-A | SR2-MF | 09.2.120 | ROHMAN | C2-D-4-3 | 1 | YES | GEN | 2006-08-10
4 | HAND ROTOR UNIT | N-A | MF | 94.1.553 | ROHMAN | C2-D-4-4 | 1 | YES | GEN | 2008-10-21
5 | HAND ROTOR UNIT | N-A | SMR4-MF | 07.4.067 | ROHMAN | C2-D-4-5 | 1 | YES | GEN | 2008-08-16
6 | CABLE | N-A | RK-2-N/1 | N-A | ROHMAN | C2-D-4-6 | 1 | YES | GEN | 2008-01-21
METHOD: EDDY CURRENT
LIST OF: ROTOTEST
SECTION: C2-D-4

## C2-D-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | FUSELAGE SKIN UNDERNEATH ACOUSTIC PANEL FR 18 TO FR 32 | N-A | _ | _ | ENG-CORP | C2-D-5 | 1 | YES | A330/ 53-21-36 | 2006-01-15
2 | TEST PIECE | N-A | 99F53207313000 | 3074268 | ENG-CORP | C2-D-5-1 | 1 | YES | A330/ 53-21-36 | 2006-01-15
3 | TEST PIECE | N-A | 99A53307236000 | 3074305 | ENG-CORP | C2-D-5-2 | 1 | YES | A330/ 53-21-36 | 2006-01-15
4 | TEST PIECE | N-A | 99F53207314000 | 50650 | TECHNA NDT | C2-D-5-3 | 1 | YES | A330/ 53-21-36 | 2016-08-15
5 | PROBE | N-A | NEC-4170 | N-A | ENG-CORP | C2-D-5-4 | 1 | YES | A330/ 53-21-36 | 2006-01-15
6 | CABLE | N-A | CB1-TF-6 | N-A | ENG-CORP | C2-D-5-5 | 1 | YES | A330/ 53-21-36 | 2006-01-15
METHOD: EDDY CURRENT
LIST OF: ROTOTEST
SECTION: C2-D-5

## C2-D-6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | CALIBRATION STANDARD | N-A | 171T17969-401 | N-A | EMB-170 | C2-D-6 | 1 | YES | EMB | 2016-05-20
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C2-D-6

## C2-D-7
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | AIRBUS REFERENCE STANDARD | N-A | 99F54503012000 | 25533 | AEROFAB NDT | C2-D-7-1 | 1 | YES | A330 / 54-51-04 | 2020-01-16
2 | EDDY CURRENT PROBE | N-A | ATMH.500 ( SPO-7188 ) | 11440 | AEROFAB NDT | C2-D-7-2 | 1 | YES | A330 / 54-51-04 | 2020-01-16
3 | CABLE | N-A | ACN16-TF6-R ( SPO-6687 ) | N/A | AEROFAB NDT | C2-D-7-3 | 1 | YES | A330 / 54-51-04 | 2020-01-16
METHOD: EDDY CURRENT
LIST OF: ROTOTEST
SECTION: C2-D-7

## C2-D-8
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | BOEING REFERENCE STANDARD | N-A | NDT3249 | 26418 | AEROFAB NDT | C2-D-8-1 | 1 | YES | B737-800 55-10-64 | 2020-03-19
2 | BOEING REFERENCE STANDARD | N-A | NDT3250 | 26509 | AEROFAB NDT | C2-D-8-2 | 1 | YES | B737-800 55-10-64 | 2020-03-19
3 | EDDY CURRENT PROBE | N-A | AF-4068 | 26472 | AEROFAB NDT | C2-D-8-3 | 1 | YES | B737-800 55-10-64 | 2020-03-19
4 | EDDY CURRENT PROBE | N-A | AF-4081 | 26471 | AEROFAB NDT | C2-D-8-4 | 1 | YES | B737-800 55-10-64 | 2020-03-19
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C2-D-8

## OUT KIT 1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | EDDY CURRENT INSP. KIT | 45S1546 | GE-FQAP-626 | 35 | G.E | OUT-KIT-1 | 1 | YES | B777 / E.O329 | 2016-01-16
2 | CALIBRATION STANDARD | N - A | ET-2098 | 43 | G.E | OUT-KIT-1 | 1 | YES | B777 / E.O329 | 2016-01-16
3 | CALIBRATION STANDARD HOLDER | N - A | ET-2098 | N - A | G.E | OUT-KIT-1 | 1 | YES | B777 / E.O329 | 2016-01-16
4 | EDDY CURRENT PROBE | N - A | 379-015-290 | 151006DE | G.E | OUT-KIT-1 | 1 | YES | B777 / E.O329 | 2016-01-16
5 | EDDY CURRENT PROBE | N - A | 379-015-290 | 151006D7 | G.E | OUT-KIT-1 | 1 | YES | B777 / E.O329 | 2016-01-16
6 | THERMOMETER | 45K0399 | HT1 | N - A | G.E | OUT-KIT-1 | 1 | YES | B777 / E.O329 | 2016-01-16
7 | PROBE CABLE | N - A | 640-010-012 | N - A | G.E | OUT-KIT-1 | 2 | YES | B777 / E.O329 | 2016-01-16
8 | PROBE CENTERING CLIP | N - A | N - A | N - A | G.E | OUT-KIT-1 | 2 | YES | B777 / E.O329 | 2016-01-16
9 | STORM CASE | N - A | IM3100 | N - A | G.E | OUT-KIT-1 | 1 | YES | B777 / E.O329 | 2016-01-16
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 1

## OUT KIT 2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | ROTOTEST BOLT HOLE INSPECTION KIT ENG. CF34-8E FAN BLADES | N-A | GE - FQAP - 446 | 525 | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
2 | PROBE | N-A | U8626111 | K11577 | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
3 | TEST PIECE | N-A | MOD-091 | 17-038 | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
4 | FIXTURE | N-A | J058077G01 | N - A | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
5 | FIXTURE | N-A | J050884G01 | N - A | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
6 | BRUSH | N-A | N - A | N - A | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
7 | MARKER PEN | N-A | N - A | N - A | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
8 | ADAPTOR FOR PROBE | N-A | ARM-1 | 621 | G - E | OUTKIT-2 | 1 | YES | E . O 214 | 2017-10-17
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 2

## OUT KIT 3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | ROTOTEST BOLTHOLE INSPECTION KIT ENG. CF34-8E FAN BLADES | N-A | GE - FQAP - 302 | 509 | G - E | OUTKIT-3 | 1 | YES | E . O 214 | 2017-10-17
2 | GUIDE FIXTURE | N-A | S8047G01 | N - A | G - E | OUTKIT-3 | 1 | YES | E . O 214 | 2017-10-17
3 | GUIDE FIXTURE | N-A | S015164G02 | N - A | G - E | OUTKIT-3 | 1 | YES | E . O 214 | 2017-10-17
4 | ADAPTOR FOR PROBE | N-A | ARM-1 | A00STW | G - E | OUTKIT-3 | 1 | YES | E . O 214 | 2017-10-17
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 3

## OUT KIT 4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | ROTOTEST BOLT HOLE INSPECTION KIT ENG.CF34-8E FAN BLADES | N-A | GE - FQAP - 302 | 0 70 | G - E | OUTKIT-4 | 1 | YES | E.O 214 | 2017-10-17
2 | GUIDE FIXTURE POUT 1 | N-A | 8047G01 | N - A | G - E | OUTKIT-4 | 1 | YES | E.O 214 | 2017-10-17
3 | GUIDE FIXTURE POUT 2 | N-A | S015164G02 | N - A | G - E | OUTKIT-4 | 1 | YES | E.O 214 | 2017-10-17
4 | ACCESSORIES | N-A | N - A | N - A | G - E | OUTKIT-4 | 1 | YES | E.O 214 | 2017-10-17
5 | ALLEN KEY | N-A | N - A | N - A | G - E | OUTKIT-4 | 1 | YES | E.O 214 | 2017-10-17
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 4

## OUT KIT 5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | LEADING EDGE EDDY CURRENT INSP. KIT ENG. CF34-8 STAGE 6 L PT BLADES | N-A | GE - FQAP - 695 | 00 1 | G - E | OUTKIT-5 | 1 | YES | GEN | 2017-10-17
2 | REFRANCE STANDARD | N-A | SGP162 | F15-036 | G - E | OUTKIT-5 | 1 | YES | GEN | 2017-10-17
3 | PROBE | N-A | US-3250 | 62843 | G - E | OUTKIT-5 | 1 | YES | GEN | 2017-10-17
4 | PROBE | N-A | US-3250 | 62844 | G - E | OUTKIT-5 | 1 | YES | GEN | 2017-10-17
5 | CABLE | N-A | 94032 | N - A | G - E | OUTKIT-5 | 1 | YES | GEN | 2017-10-17
6 | STANLY CUTTER | N-A | N - A | N - A | G - E | OUTKIT-5 | 1 | YES | GEN | 2017-10-17
7 | TEFLON BLOCK | N-A | N - A | N - A | G - E | OUTKIT-5 | 1 | YES | GEN | 2017-10-17
LPM -ACSD -NDT .01F20
[11 empty] | NO. | DESCRIPITON | P/N | S/N | QTY
OUT KIT 5
[11 empty] | 1 | LEADING EDGE EDDY CURRENT INSP. KIT ENG. CF34-8 STAGE 6 L PT BLADES | GE - FQAP - 695 | 00 1 | 1
[11 empty] | 2 | REFRANCE STANDARD | SGP162 | F15-036 | 1
[11 empty] | 3 | PROBE | US-3250 | 62843 | 1
[11 empty] | 4 | PROBE | US-3250 | 62844 | 1
[11 empty] | 5 | CABLE | 94032 | N - A | 1
[11 empty] | 6 | STANLY CUTTER | N - A | N - A | 1
[11 empty] | 7 | TEFLON BLOCK | N - A | N - A | 1
[11 empty] | NO. | DESCRIPITON | P/N | S/N | QTY
OUT KIT 5
[11 empty] | 1 | LEADING EDGE EDDY CURRENT INSP. KIT ENG. CF34-8 STAGE 6 L PT BLADES | GE - FQAP - 695 | 00 1 | 1
[11 empty] | 2 | REFRANCE STANDARD | SGP162 | F15-036 | 1
[11 empty] | 3 | PROBE | US-3250 | 62843 | 1
[11 empty] | 4 | PROBE | US-3250 | 62844 | 1
[11 empty] | 5 | CABLE | 94032 | N - A | 1
[11 empty] | 6 | STANLY CUTTER | N - A | N - A | 1
[11 empty] | 7 | TEFLON BLOCK | N - A | N - A | 1
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 5
LIST OF: OUT KIT
SECTION: OUT OF KIT 5
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 5
METHOD: EDDY CURRENT

## OUT KIT 6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | EDDY CURRENT INSPECTION KIT ( CFM56-7B ) & ( CFM56-5B) EXHAUST CASE | N-A | 856A2692G04 | N-A | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
2 | PROBE | N-A | 9970-958-574G02 | n ° STA KS574-181001 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
3 | PROBE | N-A | 9970-958-575G02 | n ° STA KS575-181001 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
4 | PROBE | N-A | 9970-958-576G02 | n ° STA KS576-181001 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
5 | PROBE | N-A | UNIWEST US-3530 | 73151 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
6 | PROBE | N-A | 9222162 | K24421 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
7 | CALIBRATION BLOCK | N-A | 9970-958-579P01 | 144 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
8 | CABLE | N-A | 9122083.03 | 1815 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
9 | CABLE | N-A | UNIWEST | 94186 | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
10 | TEFLON ROLL | N-A | N-A | N-A | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 1 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
11 | PEN ( RED & BLUE ) | N-A | N-A | N-A | SAFRAN AIRCRAFT ENGINES | OUTKIT-6 | 2 | YES | ( CFM56-7B ) & ( CFM56-5B) CFM56-7B S/B 72-0579 | 2019-10-05
LPM -ACSD -NDT .01F20
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 6

## OUT KIT 7
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
_ | B737 NLG WHEEL CONTOUR PROBE | N/A | F28318000 | 103432-6 | SAFRAN | OUT KIT-7 | 1 | YES | C20637-32-006 / 32-09-01 | 2020-08-25
1 | TEST ITEM KD-143-H-1811.10.1 | N/A | EQC3090-0003 | A01E9J | SAFRAN | OUT KIT-7 | 1 | YES | C20637-32-006 / 32-09-01 | 2020-08-25
2 | REFERENCE STANDARD | N/A | EQC3090-0004 | A01E6M | SAFRAN | OUT KIT-7 | 1 | YES | C20637-32-006 / 32-09-01 | 2020-08-25
3 | CABLE | N/A | EK-2-HF/1 | - | SAFRAN | OUT KIT-7 | 1 | YES | C20637-32-006 / 32-09-01 | 2020-08-25
LPM -ACSD -NDT .01F20
OUT KIT 7
[11 empty] | NO. | DESCRIPITON | P/N | S/N | QTY
[11 empty] | _ | B737 NLG WHEEL CONTOUR PROBE | F28318000 | 103432-6 | 1
[11 empty] | 1 | TEST ITEM KD-143-H-1811.10.1 | EQC3090-0003 | A01E9J | 1
[11 empty] | 2 | REFERENCE STANDARD | EQC3090-0004 | A01E6M | 1
[11 empty] | 3 | CABLE | EK-2-HF/1 | - | 1
OUT KIT 7
[11 empty] | NO. | DESCRIPITON | P/N | S/N | QTY
[11 empty] | _ | B737 NLG WHEEL CONTOUR PROBE | F28318000 | 103432-6 | 1
[11 empty] | 1 | TEST ITEM KD-143-H-1811.10.1 | EQC3090-0003 | A01E9J | 1
[11 empty] | 2 | REFERENCE STANDARD | EQC3090-0004 | A01E6M | 1
[11 empty] | 3 | CABLE | EK-2-HF/1 | - | 1
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 7
LIST OF: OUT KIT
SECTION: OUT OF KIT 7
METHOD: EDDY CURRENT
LIST OF: OUT KIT
SECTION: OUT OF KIT 7
METHOD: EDDY CURRENT